## Sheet1
EQUIPMENT DESCRIPTION | Brand Name | Model | Floor Number | Location | Supplier | Operation Date | Supply Date | Serial Number | Warranty Period | Room
Bedside Patient Monitor (Module) | Philips | X 2 | 4 | CCU-2203 | Egyptian Group | 2017-05-08 | 2017-05-01 | BPM09 | 2 | 1
Bedside Patient Monitor (Module) | Philips | X 2 | 4 | CCU-2202 | Egyptian Group | 2017-05-08 | 2017-05-01 | BPM10 | 2 | 2
Bedside Patient Monitor (Module) | Philips | X 2 | 4 | CCU-2201 | Egyptian Group | 2017-05-08 | 2017-05-01 | BPM011 | 2 | 3
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA03 | 3 | 1
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA04 | 3 | 2
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA05 | 3 | 3
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA06 | 3 | 4
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA07 | 3 | 5
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA08 | 3 | 6
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA09 | 3 | 7
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA10 | 3 | 8
Blood Glucose Analyzer | Roche Diagnostics | Acc-Check Performa | 4 | CCU | Roche | 2017-05-15 | 2017-05-07 | BGA11 | 3 | 9
Defibrillator.Pacemakers, External, Manual | Philips | HeartStart XL+ | 4 | CCU | Egyptian Group | 2017-06-13 | 2017-06-06 | DPE04 | 2 | 10
Electrocardiographs, Multichannel, Interpretive | Philips | Page Writer TC20 | 4 | CCU | Egyptian Group | 2017-06-13 | 2017-06-06 | ECG01 | 5 | 11
Examination Light, Mobile, LED | Kawe | Master Light LED | 4 | CCU | Servomed | 2017-06-13 | 2017-06-06 | EL01 | 2 | 12
Flowmeters, Gas | Technologie Medical | RTM3 | 4 | CCU-2201 | Al Eman Medical | 2017-09-17 | 2017-09-10 | FG02 | 2 | 1
Flowmeters, Gas | Technologie Medical | RTM3 | 4 | CCU-2202 | Al Eman Medical | 2017-09-17 | 2017-09-10 | FG03 | 2 | 2
Flowmeters, Gas | Technologie Medical | RTM3 | 4 | CCU-2203 | Al Eman Medical | 2017-09-17 | 2017-09-10 | FG04 | 2 | 3
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS01 | 2 | 4
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS02 | 2 | 5
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS03 | 2 | 6
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS04 | 2 | 7
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS05 | 2 | 8
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS06 | 2 | 9
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS07 | 2 | 10
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS08 | 2 | 11
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS09 | 2 | 12
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS10 | 2 | 13
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS11 | 2 | 14
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS12 | 2 | 15
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS13 | 2 | 16
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS14 | 2 | 17
Headwall Systems, Prefabricated,VII | Modular | 1103 | 4 | CCU | Alkan Medical | 2017-03-07 | 2017-06-21 | HWS15 | 2 | 18
ICU Patient Bed without Scale | Stryker | EPIC II | 4 | CCU-2203 | Alkan Medical | 2017-04-12 | 2017-04-05 | PBWS01 | 2 | 19
ICU Patient Bed without Scale | Stryker | EPIC II | 4 | CCU-2202 | Alkan Medical | 2017-04-12 | 2017-04-05 | PBWS02 | 2 | 20
ICU Patient Bed without Scale | Stryker | EPIC II | 4 | CCU-2201 | Alkan Medical | 2017-04-12 | 2017-04-05 | PBWS03 | 2 | 21
Infusion Pumps, Syringe | Fresenius | Injectomate Ajilia | 4 | CCU | Egyptian Group | 2017-04-12 | 2017-04-05 | IP01 | 2 | 22
Infusion Pumps, Syringe | Fresenius | Injectomate Ajilia | 4 | CCU | Egyptian Group | 2017-04-12 | 2017-04-05 | IP02 | 2 | 23
Infusion Pumps, Syringe | Fresenius | Injectomate Ajilia | 4 | CCU | Egyptian Group | 2017-04-12 | 2017-04-05 | IP03 | 2 | 24
Laryngoscopes, Rigid, Adult | Kawe | 03.62020.011 | 4 | CCU | Servomed | 2017-07-25 | 2017-07-18 | LSR01 | 2 | 25
Monitors, Central Station | Philips | IntelliVue PIIC iX | 4 | CCU | Egyptian Group | 2017-07-25 | 2017-07-18 | MCS01 | 2 | 13
Nebulizer, Ultrasonic | Atom | 303 | 4 | CCU | Egyptian Engineering Industerial Office | 2017-03-08 | 2017-03-01 | NU01 | 2 | 14
Nebulizer, Ultrasonic | Atom | 303 | 4 | CCU | Egyptian Engineering Industerial Office | 2017-03-08 | 2017-03-01 | NU02 | 2 | 15
Refrigerators, Pharmacy. Laboratory (Under Counter) | Jewett | JRG404V | 4 | CCU-Medication room | Analysis | 20/4/2017 | 2017-05-04 | RPL01 | 2 | 16
Regulators, Suction | Technologie Medical | RVTM3 | 4 | CCU-2201 | Al Eman Medical | 20/4/2017 | 2017-05-04 | RS01 | 2 | 6
Regulators, Suction | Technologie Medical | RVTM3 | 4 | CCU-2202 | Al Eman Medical | 20/4/2017 | 2017-05-04 | RS02 | 2 | 7
Regulators, Suction | Technologie Medical | RVTM3 | 4 | CCU-2203 | Al Eman Medical | 20/4/2017 | 2017-05-04 | RS03 | 2 | 9
Scales, Patient, Platform, Electronic | Seca | 769 | 4 | CCU | Scientific&Medical Euipment Co. Al Nouh | 20/4/2017 | 2017-05-04 | SC01 | 2 | 10
Scales, Patient, Platform, Electronic | Seca | 769 | 4 | CCU | Scientific&Medical Euipment Co. Al Nouh | 20/4/2017 | 2017-05-04 | SC02 | 2 | 13
Scanning Systems, Ultrasonic, lCU | Philips | CX50 | 4 | CCU | Philips | 20/4/2017 | 2017-05-04 | US01 | 2 | 15
Thermometers, Electronic, Patient | Welch Allyn | Sure Temp Plus-690 | 4 | CCU | Delta Medical | 2017-10-04 | 23/5/207 | TM01 | 2 | 18
Thermometers, Electronic, Patient | Welch Allyn | Sure Temp Plus-690 | 4 | CCU | Delta Medical | 2017-10-04 | 23/5/207 | TM02 | 2 | 6
Thermometers, Electronic, Patient | Welch Allyn | Sure Temp Plus-690 | 4 | CCU | Delta Medical | 2017-10-04 | 23/5/207 | TM03 | 2 | 7
Warming Cabinet | Barkey | Warm Center II | 4 | CCU | Egyptian Group | 2017-12-05 | 28/4/2017 | WM01 | 2 | 9
Warming Unit, Patient, Forced-Air | 3M | Bair Hugger 775 | 4 | CCU | Kemet Medical | 2017-12-05 | 28/4/2017 | WU01 | 2 | 10
Cabinets, Storage, Medicine, narcotic Control | Givas | AA1240 | 4 | CCU | Generations | 2017-12-05 | 28/4/2017 | CSM01 | 2 | 13
Cabinets, Storage, Medicine, narcotic Control | Givas | AA1240 | 4 | CCU | Generations | 2017-12-05 | 28/4/2017 | CSM02 | 2 | 15
Carts, Medication | France Hopital | PRE9AAA-G-M1 | 4 | CCU | Generations | 2017-02-05 | 2017-08-03 | C01 | 2 | 18
Carts, Resuscitation | France Hopital | PL41C5-S01 | 4 | CCU | Generations | 2017-02-05 | 2017-08-03 | C02 | 2 | 6
Carts, Service/Utility | France Hopital | CS963 | 4 | CCU | Generations | 2017-02-05 | 2017-08-03 | C03 | 2 | 7
Carts, Service/Utility | France Hopital | CS963 | 4 | CCU | Generations | 2017-02-05 | 2017-08-03 | C04 | 2 | 9
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV01 | 2 | 10
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV02 | 2 | 13
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV03 | 2 | 15
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV04 | 2 | 18
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV05 | 2 | 19
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV06 | 2 | 20
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV07 | 2 | 5
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV08 | 2 | 6
Intravenous Poles | Local | NA | 4 | CCU | Generations | 2017-06-06 | 21/5/2017 | IV09 | 2 | 7