## Sheet1
EQUIPMENT DESCRIPTION | Brand Name | Model | Floor Number | Location | Supplier | Operation Date | Supply Date | Serial Number | Warranty Period(Years) | Room
EKG Machine | SCHILLER | AT-102 | 3 | Cardiac Clinic | Ghalioungui | 2016-08-02 | 2016-08-02 | 70.1225 | 2 | 28
Ultrasound | SIEMENS | Acuson CV70 | 3 | Cardiac Clinic | ----- | 2008-11-23 | 2008-11-23 | GM-56700A00E | 2 | 29
Heart Ultrasound | PHILIPS | affiniti50 | 3 | Cardiac Clinic | Nile | 2016-03-12 | 2016-03-12 | US416D0893 | 2 | 30
Heart Ultrasound | GE | vivid E9 | 3 | Cardiac Clinic | Alkan medical | 2016-08-02 | 2016-08-02 | VE97982 | 2 | 31
Stress ECG | PHILIPS | TMX425 | 3 | Cardiac Clinic | Egyptian Group | 2016-08-02 | 2016-08-02 | FV-12133 | 2 | 32
Pulse Meter | NONIN | 7500 | 3 | Cardiac Clinic | Servomed | 2016-04-02 | 2016-04-02 | 501744203 | 2 | 28
Defibrillator | PHILIPS | Heart start XL | 3 | Cardiac Clinic | Alkan medical | 2016-08-02 | 2016-08-02 | US71514668 | 2 | 29
Electric Syringe | CAREFUSION | Alaris | 3 | Cardiac Clinic | Gesca | 2016-04-02 | 2016-04-02 | 135225400 | 2 | 30
Crytherapy | CRYOPRO | maxi | 4 | Dermatology Clinic | ------ | 2013-08-05 | 2013-08-05 | L147957 | 2 | 31
Crytherapy | CRYOPRO | maxi | 4 | Dermatology Clinic | ------ | 2013-08-05 | 2013-08-05 | L148578 | 2 | 32
Doppler | PHILIPS | Clear vue 650 | 4 | Gynecology Clinic | Nile | 2016-09-02 | 2016-09-02 | US414A0128 | 2 | 28
UV Device | WALDMANN | -------- | 4 | Dermatology Clinic | ------- | 2009-01-10 | 2009-01-10 | 05859-13 | 2 | 29
Stethendoscope | PENTAX | PENTAX3.2 | 5 | Chest clinic | Scope medical | 2016-01-28 | 2016-01-28 | EB1970TK | 2 | 30
EMG | EBN NEMUS | LANSTETUP | 5 | Neurological and psychological clinics | ------- | 2005-01-31 | 2005-01-31 | 19216817171 | 2 | 31
EEG | NIHONKOHDEN | EEG-7310F | 5 | Neurological and psychological clinics | Cairo medical | 2005-01-31 | 2005-01-31 | 826 | 2 | 32
Electric Suction | EUROVAC | H-40 | 5 | Chest clinic | Falwa medical | 2013-07-07 | 2013-07-07 | 8219-01-042 | 2 | 28
pedobaromacrometer | LAICA | BF2051 | 4 | Pediatric Clinic | ------- | ------ | ----- | PPO-1042002 | 2 | 29
Spirometry | SCHILLER | SP-1 | 5 | Chest clinic | Ghalioungui | 2016-01-28 | 2016-01-28 | 540.1264 | 2 | 30
Spirometry | SMART PFT | SPIRO | 5 | Chest clinic | Fatemia medical | 2005-01-31 | 2005-01-31 | EST 0612-00012 | 2 | 31